## Slide 1: Capacity planning and Stochastic simulation
Ben Wilkinson
72583727

## Slide 2: What’s changed since the midterm?
A lot has changed since the midterm…
But what hasn’t changed?
  The base code and most of the initialization have remained the same
  The technology and data have also not changed
What’s been added?
  Stochastic Simulation (Varying load and wind and solar variability data)
  Plotting has seen a significant upgrade as well

## Slide 3: So, what does it look like now? Let’s start with load data.

## Slide 4: Capacity and Cost Distributions

## Slide 5: System Cost Per Run and System Cost Breakdown

## Slide 6: Dispatch Curves High, Mean, Low of Load Distribution

## Slide 7: System Data Outputs
Power (MW): Generator CCGT 1.682155 nuclear 9.470447 hydro -0.000000 onwind 1.367245 solar 4.432502
Power (MW): StorageUnit battery storage 6.886548
Generation (TWh): Generator CCGT 1.258916 nuclear 70.756132 hydro 0.000000 onwind 2.278203 solar 5.928880
Cost ($): carrier Generator CCGT 1090.729944 hydro 0.000000 nuclear 13783.031013 onwind 355.012188 solar 657.474619 StorageUnit battery storage 2174.285148

## Slide 8: Live demo and walk-through
Although looking at charts is nice, I want to take a large portion of the presentation time to get the program running on your computers